## Data
Data
PVA Neue Heimat 16 | 43 | kWp
Annual load demand | 70 | MW

## Sheet2
Battery capacity | 10000 | Sum Consumption | Sum PV | [6 empty] | Edu |  | Ebc |  | Degree of self-consumption (s) | Ebd |  | Degree of self-sufficiency (d)
|  | 427838 | 268197 |  | C-P |  |  |  | PV not enough: energy from battery or grid? |  | Total Edu |  | Total Ebc | s = (Edu + Ebc)/Epv |  | Total Ebd | d = (Edu + Ebd)/El
Load | Time | Consumption (W) | PV generation | P-C | Excess consumption | Cumulative energy pv | Cumulative consumption | Battery charge | Grid | Edu | 212704 | Ebc | 55493 | 1 | Ebd
21.07.2017 00:00 | 0:00 | 3584 | 0 | -3584 | 3584 | 0 | 0 | 0 | -3584 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 00:15 | 0:15 | 4244 | 0 | -4244 | 4244 | 0 | -4244 | 0 | -4244 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 00:30 | 0:30 | 3947 | 0 | -3947 | 3947 | 0 | -8191 | 0 | -3947 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 00:45 | 0:45 | 2639 | 0 | -2639 | 2639 | 0 | -10830 | 0 | -2639 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 01:00 | 1:00 | 2735 | 0 | -2735 | 2735 | 0 | -13565 | 0 | -2735 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 01:15 | 1:15 | 2423 | 0 | -2423 | 2423 | 0 | -15988 | 0 | -2423 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 01:30 | 1:30 | 2431 | 0 | -2431 | 2431 | 0 | -18419 | 0 | -2431 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 01:45 | 1:45 | 2236 | 0 | -2236 | 2236 | 0 | -20655 | 0 | -2236 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 02:00 | 2:00 | 2054 | 0 | -2054 | 2054 | 0 | -22709 | 0 | -2054 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 02:15 | 2:15 | 2354 | 0 | -2354 | 2354 | 0 | -25063 | 0 | -2354 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 02:30 | 2:30 | 3567 | 0 | -3567 | 3567 | 0 | -28630 | 0 | -3567 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 02:45 | 2:45 | 1997 | 0 | -1997 | 1997 | 0 | -30627 | 0 | -1997 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 03:00 | 3:00 | 2085 | 0 | -2085 | 2085 | 0 | -32712 | 0 | -2085 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 03:15 | 3:15 | 1907 | 0 | -1907 | 1907 | 0 | -34619 | 0 | -1907 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 03:30 | 3:30 | 2042 | 0 | -2042 | 2042 | 0 | -36661 | 0 | -2042 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 03:45 | 3:45 | 1809 | 0 | -1809 | 1809 | 0 | -38470 | 0 | -1809 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 04:00 | 4:00 | 1803 | 0 | -1803 | 1803 | 0 | -40273 | 0 | -1803 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 04:15 | 4:15 | 1768 | 0 | -1768 | 1768 | 0 | -42041 | 0 | -1768 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 04:30 | 4:30 | 1707 | 0 | -1707 | 1707 | 0 | -43748 | 0 | -1707 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 04:45 | 4:45 | 1727 | 0 | -1727 | 1727 | 0 | -45475 | 0 | -1727 | 0 |  | 0 |  |  | 0 | 0
21.07.2017 05:00 | 5:00 | 1888 | 100 | -1788 | 1788 | 0 | -47263 | 0 | -1788 | 100 |  | 0 |  |  | 0 | 0
21.07.2017 05:15 | 5:15 | 1714 | 100 | -1614 | 1614 | 0 | -48877 | 0 | -1614 | 100 |  | 0 |  |  | 0 | 0
21.07.2017 05:30 | 5:30 | 1753 | 200 | -1553 | 1553 | 0 | -50430 | 0 | -1553 | 200 |  | 0 |  |  | 0 | 0
21.07.2017 05:45 | 5:45 | 1865 | 250 | -1615 | 1615 | 0 | -52045 | 0 | -1615 | 250 |  | 0 |  |  | 0 | 0
21.07.2017 06:00 | 6:00 | 2462 | 300 | -2162 | 2162 | 0 | -54207 | 0 | -2162 | 300 |  | 0 |  |  | 0 | 0
21.07.2017 06:15 | 6:15 | 2310 | 350 | -1960 | 1960 | 0 | -56167 | 0 | -1960 | 350 |  | 0 |  |  | 0 | 0
21.07.2017 06:30 | 6:30 | 3091 | 400 | -2691 | 2691 | 0 | -58858 | 0 | -2691 | 400 |  | 0 |  |  | 0 | 0
21.07.2017 06:45 | 6:45 | 2390 | 500 | -1890 | 1890 | 0 | -60748 | 0 | -1890 | 500 |  | 0 |  |  | 0 | 0
21.07.2017 07:00 | 7:00 | 2652 | 600 | -2052 | 2052 | 0 | -62800 | 0 | -2052 | 600 |  | 0 |  |  | 0 | 0
21.07.2017 07:15 | 7:15 | 1937 | 700 | -1237 | 1237 | 0 | -64037 | 0 | -1237 | 700 |  | 0 |  |  | 0 | 0
21.07.2017 07:30 | 7:30 | 2325 | 800 | -1525 | 1525 | 0 | -65562 | 0 | -1525 | 800 |  | 0 |  |  | 0 | 0
21.07.2017 07:45 | 7:45 | 2274 | 900 | -1374 | 1374 | 0 | -66936 | 0 | -1374 | 900 |  | 0 |  |  | 0 | 0
21.07.2017 08:00 | 8:00 | 2199 | 1000 | -1199 | 1199 | 0 | -68135 | 0 | -1199 | 1000 |  | 0 |  |  | 0 | 0
21.07.2017 08:15 | 8:15 | 2425 | 1500 | -925 | 925 | 0 | -69060 | 0 | -925 | 1500 |  | 0 |  |  | 0 | 0
21.07.2017 08:30 | 8:30 | 2687 | 1700 | -987 | 987 | 0 | -70047 | 0 | -987 | 1700 |  | 0 |  |  | 0 | 0
21.07.2017 08:45 | 8:45 | 3834 | 1900 | -1934 | 1934 | 0 | -71981 | 0 | -1934 | 1900 |  | 0 |  |  | 0 | 0
21.07.2017 09:00 | 9:00 | 4403 | 2100 | -2303 | 2303 | 0 | -74284 | 0 | -2303 | 2100 |  | 0 |  |  | 0 | 0
21.07.2017 09:15 | 9:15 | 3349 | 2300 | -1049 | 1049 | 0 | -75333 | 0 | -1049 | 2300 |  | 0 |  |  | 0 | 0
21.07.2017 09:30 | 9:30 | 3678 | 3000 | -678 | 678 | 0 | -76011 | 0 | -678 | 3000 |  | 0 |  |  | 0 | 0
21.07.2017 09:45 | 9:45 | 7003 | 3500 | -3503 | 3503 | 0 | -79514 | 0 | -3503 | 3500 |  | 0 |  |  | 0 | 0
21.07.2017 10:00 | 10:00 | 7933 | 4000 | -3933 | 3933 | 0 | -83447 | 0 | -3933 | 4000 |  | 0 |  |  | 0 | 0
21.07.2017 10:15 | 10:15 | 7504 | 4500 | -3004 | 3004 | 0 | -86451 | 0 | -3004 | 4500 |  | 0 |  |  | 0 | 0
21.07.2017 10:30 | 10:30 | 7026 | 5000 | -2026 | 2026 | 0 | -88477 | 0 | -2026 | 5000 |  | 0 |  |  | 0 | 0
21.07.2017 10:45 | 10:45 | 7727 | 5500 | -2227 | 2227 | 0 | -90704 | 0 | -2227 | 5500 |  | 0 |  |  | 0 | 0
21.07.2017 11:00 | 11:00 | 8154 | 6000 | -2154 | 2154 | 0 | -92858 | 0 | -2154 | 6000 |  | 0 |  |  | 0 | 0
21.07.2017 11:15 | 11:15 | 8515 | 7000 | -1515 | 1515 | 0 | -94373 | 0 | -1515 | 7000 |  | 0 |  |  | 0 | 0
21.07.2017 11:30 | 11:30 | 10268 | 8000 | -2268 | 2268 | 0 | -96641 | 0 | -2268 | 8000 |  | 0 |  |  | 0 | 0
21.07.2017 11:45 | 11:45 | 6167 | 9000 | 2833 | 0 | 2833 | -96641 | 2833 | charging | 6167 |  | 2833 |  |  | 0 | 0
21.07.2017 12:00 | 12:00 | 5534 | 10000 | 4466 | 0 | 7299 | -96641 | 10132 | charging | 5534 |  | 4466 |  |  | 0 | 0
21.07.2017 12:15 | 12:15 | 5774 | 11000 | 5226 | 0 | 12525 | -96641 | 10132 | charging | 5774 |  | 5226 |  |  | 0 | 0
21.07.2017 12:30 | 12:30 | 4729 | 12000 | 7271 | 0 | 19796 | -96641 | 10132 | charging | 4729 |  | 7271 |  |  | 0 | 0
21.07.2017 12:45 | 12:45 | 5542 | 12000 | 6458 | 0 | 26254 | -96641 | 10132 | charging | 5542 |  | 6458 |  |  | 0 | 0
21.07.2017 13:00 | 13:00 | 6885 | 12500 | 5615 | 0 | 31869 | -96641 | 10132 | charging | 6885 |  | 5615 |  |  | 0 | 0
21.07.2017 13:15 | 13:15 | 7077 | 12000 | 4923 | 0 | 36792 | -96641 | 10132 | charging | 7077 |  | 4923 |  |  | 0 | 0
21.07.2017 13:30 | 13:30 | 7166 | 11000 | 3834 | 0 | 40626 | -96641 | 10132 | charging | 7166 |  | 3834 |  |  | 0 | 0
21.07.2017 13:45 | 13:45 | 8919 | 10500 | 1581 | 0 | 42207 | -96641 | 10132 | charging | 8919 |  | 1581 |  |  | 0 | 0
21.07.2017 14:00 | 14:00 | 10865 | 10000 | -865 | 865 | 42207 | -97506 | 10132 | -10997 | 10000 |  | 0 |  |  | 10132 | 10132
21.07.2017 14:15 | 14:15 | 8445 | 9500 | 1055 | 0 | 43262 | -97506 | 10132 | charging | 8445 |  | 1055 |  |  | 0 | 0
21.07.2017 14:30 | 14:30 | 6732 | 9000 | 2268 | 0 | 45530 | -97506 | 10132 | charging | 6732 |  | 2268 |  |  | 0 | 0
21.07.2017 14:45 | 14:45 | 4504 | 8500 | 3996 | 0 | 49526 | -97506 | 10132 | charging | 4504 |  | 3996 |  |  | 0 | 0
21.07.2017 15:00 | 15:00 | 5997 | 8000 | 2003 | 0 | 51529 | -97506 | 10132 | charging | 5997 |  | 2003 |  |  | 0 | 0
21.07.2017 15:15 | 15:15 | 5890 | 7500 | 1610 | 0 | 53139 | -97506 | 10132 | charging | 5890 |  | 1610 |  |  | 0 | 0
21.07.2017 15:30 | 15:30 | 4646 | 7000 | 2354 | 0 | 55493 | -97506 | 10132 | charging | 4646 |  | 2354 |  |  | 0 | 0
21.07.2017 15:45 | 15:45 | 7495 | 6500 | -995 | 995 | 55493 | -98501 | 10132 | 0 | 6500 |  | 0 |  |  | 995 | 7495
21.07.2017 16:00 | 16:00 | 9167 | 6000 | -3167 | 3167 | 55493 | -101668 | 10132 | 0 | 6000 |  | 0 |  |  | 3167 | 9167
21.07.2017 16:15 | 16:15 | 9776 | 5500 | -4276 | 4276 | 55493 | -105944 | 10132 | 0 | 5500 |  | 0 |  |  | 4276 | 9776
21.07.2017 16:30 | 16:30 | 5908 | 5000 | -908 | 908 | 55493 | -106852 | 10132 | 0 | 5000 |  | 0 |  |  | 908 | 5908
21.07.2017 16:45 | 16:45 | 5541 | 4500 | -1041 | 1041 | 55493 | -107893 | 10132 | 0 | 4500 |  | 0 |  |  | 1041 | 5541
21.07.2017 17:00 | 17:00 | 6081 | 4000 | -2081 | 2081 | 55493 | -109974 | 10132 | 0 | 4000 |  | 0 |  |  | 2081 | 6081
21.07.2017 17:15 | 17:15 | 4536 | 3500 | -1036 | 1036 | 55493 | -111010 | 10132 | 0 | 3500 |  | 0 |  |  | 1036 | 4536
21.07.2017 17:30 | 17:30 | 3796 | 3000 | -796 | 796 | 55493 | -111806 | 10132 | 0 | 3000 |  | 0 |  |  | 796 | 3796
21.07.2017 17:45 | 17:45 | 3371 | 2500 | -871 | 871 | 55493 | -112677 | 10132 | 0 | 2500 |  | 0 |  |  | 871 | 3371
21.07.2017 18:00 | 18:00 | 3194 | 2000 | -1194 | 1194 | 55493 | -113871 | 10132 | 0 | 2000 |  | 0 |  |  | 1194 | 3194
21.07.2017 18:15 | 18:15 | 4183 | 1500 | -2683 | 2683 | 55493 | -116554 | 10132 | 0 | 1500 |  | 0 |  |  | 2683 | 4183
21.07.2017 18:30 | 18:30 | 5410 | 1000 | -4410 | 4410 | 55493 | -120964 | 10132 | 0 | 1000 |  | 0 |  |  | 4410 | 5410
21.07.2017 18:45 | 18:45 | 4301 | 500 | -3801 | 3801 | 55493 | -124765 | 10132 | 0 | 500 |  | 0 |  |  | 3801 | 4301
21.07.2017 19:00 | 19:00 | 5410 | 499 | -4911 | 4911 | 55493 | -129676 | 10132 | 0 | 499 |  | 0 |  |  | 4911 | 5410
21.07.2017 19:15 | 19:15 | 4848 | 498 | -4350 | 4350 | 55493 | -134026 | 10132 | 0 | 498 |  | 0 |  |  | 4350 | 4848
21.07.2017 19:30 | 19:30 | 4097 | 0 | -4097 | 4097 | 55493 | -138123 | 10132 | 0 | 0 |  | 0 |  |  | 4097 | 4097
21.07.2017 19:45 | 19:45 | 6401 | 0 | -6401 | 6401 | 55493 | -144524 | 10132 | 0 | 0 |  | 0 |  |  | 6401 | 6401
21.07.2017 20:00 | 20:00 | 6008 | 0 | -6008 | 6008 | 55493 | -150532 | 10132 | 0 | 0 |  | 0 |  |  | 6008 | 6008
21.07.2017 20:15 | 20:15 | 5704 | 0 | -5704 | 5704 | 55493 | -156236 | 10132 | 0 | 0 |  | 0 |  |  | 5704 | 5704
21.07.2017 20:30 | 20:30 | 3144 | 0 | -3144 | 3144 | 55493 | -159380 | 10132 | 0 | 0 |  | 0 |  |  | 3144 | 3144
21.07.2017 20:45 | 20:45 | 2854 | 0 | -2854 | 2854 | 55493 | -162234 | 10132 | 0 | 0 |  | 0 |  |  | 2854 | 2854
21.07.2017 21:00 | 21:00 | 3654 | 0 | -3654 | 3654 | 55493 | -165888 | 10132 | 0 | 0 |  | 0 |  |  | 3654 | 3654
21.07.2017 21:15 | 21:15 | 5651 | 0 | -5651 | 5651 | 55493 | -171539 | 10132 | 0 | 0 |  | 0 |  |  | 5651 | 5651
21.07.2017 21:30 | 21:30 | 4630 | 0 | -4630 | 4630 | 55493 | -176169 | 10132 | 0 | 0 |  | 0 |  |  | 4630 | 4630
21.07.2017 21:45 | 21:45 | 5193 | 0 | -5193 | 5193 | 55493 | -181362 | 10132 | 0 | 0 |  | 0 |  |  | 5193 | 5193
21.07.2017 22:00 | 22:00 | 3521 | 0 | -3521 | 3521 | 55493 | -184883 | 10132 | 0 | 0 |  | 0 |  |  | 3521 | 3521
21.07.2017 22:15 | 22:15 | 2981 | 0 | -2981 | 2981 | 55493 | -187864 | 10132 | 0 | 0 |  | 0 |  |  | 2981 | 2981
21.07.2017 22:30 | 22:30 | 3281 | 0 | -3281 | 3281 | 55493 | -191145 | 10132 | 0 | 0 |  | 0 |  |  | 3281 | 3281
21.07.2017 22:45 | 22:45 | 3176 | 0 | -3176 | 3176 | 55493 | -194321 | 10132 | 0 | 0 |  | 0 |  |  | 3176 | 3176
21.07.2017 23:00 | 23:00 | 2956 | 0 | -2956 | 2956 | 55493 | -197277 | 10132 | 0 | 0 |  | 0 |  |  | 2956 | 2956
21.07.2017 23:15 | 23:15 | 3080 | 0 | -3080 | 3080 | 55493 | -200357 | 10132 | 0 | 0 |  | 0 |  |  | 3080 | 3080
21.07.2017 23:30 | 23:30 | 5315 | 0 | -5315 | 5315 | 55493 | -205672 | 10132 | 0 | 0 |  | 0 |  |  | 5315 | 5315
21.07.2017 23:45 | 23:45 | 5878 | 0 | -5878 | 5878 | 55493 | -211550 | 10132 | 0 | 0 |  | 0 |  |  | 5878 | 5878